Rock Haven Resources Ltd.

Klaza Property

Baseline Water Quality / Hydrology Survey

May, 2016

J.Gibson Env. Consulting                   Whitehorse, Yukon

Klaza Property May 2016

Rock Haven Resources Ltd. requested baseline water quality / hydrology surveys be conducted quarterly on the surface waters draining the area of the KLAZA Claims.

The KLAZA Claims are located on tributaries to the Nansen Creek and the Klaza River approx. 75 kilometers east of Carmacks.

All surface waters are tributaries to the Klaza River and the Yukon River.

All sites were accessed by ATV on May 12th and 13th, 2016.

The surface water baseline survey consisted of water quality samples for routine chemistry, total metals, dissolved metals, total organic carbon and total cyanide with field measurements for pH, water temperature and flow volumes.

Groundwater monitoring of wells developed in November 2015 consisted of locating the wells in January for standing water levels, purging and sampling wells with sufficient standing water in May, 2016. Wells were sampled for routine chemistry, total and dissolved metals, total Kjeldahl nitrogen, ionic balance and acidity.

The ONSET / HOBO weather station was downloaded May 13, 2016 and the solar radiation sensor changed.

Sample Locations

Ten potential water quality sample sites were identified for the KLAZA Claims in March 2012.

An additional site was added in July, 2014; Station KZ-11 is located at the effluent discharge point of the “China Creek’ placer operation prior to entering the Klaza River.

Groundwater Monitoring wells developed in 2015 are also listed.

Surface water sites are on the attached location map.

The Mt Nansen and upper Klaza River are historic placer mining areas.

Main stem Nansen Creek and tributaries as well as Klaza River tributaries have been equipment mined over the past 3 decades.

An abandoned hard rock gold mine is located approximately 5 kilometers to the east of

the Klaza Property.

Page 1

Klaza Property May 2016

In May 2016 placer operators on EF Nansen and China Creek were onsite but not sluicing.

KLAZA Claim sample station designations and coordinates are:

Station # LAT/LONG Coordinates

Surface Waters

KLAZA-1 62.132 137.216

KLAZA-2 62.101 137.218

KLAZA-3 62.143 137.242

KLAZA-4 62.126 137.274

KLAZA-5 62.137 137.255

KLAZA-6 62.135 137.273

KLAZA-7 62.088 137.232

KLAZA-8 62.079 137.226 KLAZA-9 62.144 137.286

KLAZA-10 62.129 137.261

KLAZA -11 no data

Groundwater Monitoring Wells MW15-01 383413 E 6888610 N MW15-02 383355 E 6890004 N MW15-03 383056 E 6890592 N MW15-04 382484 E 6891020 N MW15-05 381552 E 6890347 N Thermistor String Well GTC15-01 382824 E 6890304 N

Sample Parameters

All surface and groundwater wells stations were sampled for total metals, dissolved metals, routine chemistry. Surface waters had the addition of total organic carbon, total cyanide and total mercury; with groundwater having total Kjeldahl nitrogen, acidity and ionic balance added.

Dissolved metals samples were filtered onsite using disposable 60 ml syringes and 0.45 micron filters. New syringes and filters were used for each station.

Page 3

Klaza Property May 2016

Total and dissolved metal samples were preserved with nitric acid immediately after sampling.

Total Organic Carbon samples were preserved with HCL immediately after sampling.

Total cyanide samples were preserved with sodium hydroxide immediately after sampling.

Surface water Quality Control samples were taken at Station KZ-6 on this survey.

Ground water monitoring wells were located, standing water levels were measured and samples taken of the two wells with  unfrozen / sufficient standing water, Well MW15-05D and Well MW15-02S. All other wells were dry or remained frozen.

The data loggers in Wells MW15-01 and MW15-05 were not download this survey, MW15-05 as it remains frozen.

Thermistor string measurements were taken at GTC15-01.

All samples were stored in coolers, kept at 4 Celsius and shipped by air cargo to the Exova Canada Inc. laboratory in Surrey B.C. for analysis within recommended holding times.

Field measurements for pH and conductivity were taken with an Oakton PCS TestR 35, water temperatures with a digital thermometer.

Stream flow volumes were measured with a Price Velocity meter and cross sectional area.

Analysis Results

Laboratory analysis and field measurement results are listed in the following tables:

Surface Waters

Table 1. KLAZA Stations Routine Chemistry – laboratory analysis and field

Measurements. May 2016.

Table 2. KLAZA Stations Total Metals ICP–MS laboratory analysis results.

May 2016.

Page 4

Klaza Property May 2016

Table 3. KLAZA Stations Dissolved Metals ICP–MS laboratory analysis results.

May 2016.

Table 4. Flow Volume Measurement Summary 2012 – 2016

Table 5. Quality Control Analysis results for Station KZ-6, May 2016

Groundwater Wells

Table 6. Ground water well standing water levels 2016.

Table 7. Thermistor String Measurements 2016

Table 8. Ground water well Routine Chemistry – laboratory analysis and field

Measurements. May 2016.

Table 9. Ground water well Total Metals ICP–MS laboratory analysis results.

May 2016.

Table 10. Ground water well Dissolved Metals ICP–MS laboratory analysis results.

May 2016.

As a guide for reviewing site water quality, the Maximum Acceptable Concentration (MAC) according to Canadian Drinking Water Quality are listed along with the Aquatic Guidelines for the protection of aquatic life in water with a pH of > 6.5 according to CCME – Canadian Water Quality Guidelines.

All water quality Guideline concentrations are based on total metal values.

Laboratory Analytical Reports are attached in Appendix 1.

Data Summaries for each surface water station are on the attached disc.

Groundwater Data summaries will be generated when there are three data sets.

Page 5

Klaza Property May 2016

Discussion

Hydrology

May 2016 stream flow in Klaza Property channels had volumes reflecting the lower end of freshet. Volumes at most sites were higher than those measured since April 2013.

Station KZ#7 retained some glacial ice.

The diversion channel on upper East Fork Nansen (KZ#8) has been redirected from the right limit to the left limit resulting in a high percentage of flows transiting recently mined areas and setting ponds.

The KZ#8 sample was taken of flows on the left / east limit which during prior years mining operations was the effluent channel. Sample flows were high in sediment.

Table 4 is a summary of flow measurements 2012 -2016. May 12/13, 2016 flow volume calculations are attached in Appendix 2.

Laboratory Analytical Results

Surface Waters

Parameters that equal or exceed either Drinking Water or Aquatic Guidelines are highlighted in yellow in Tables 1 and 2. All Guideline metals values are Totals.

All Stations had surface water flow and were sampled with the exception of KZ-11. Station KZ-11 is the effluent discharge channel for the placer operation on China Creek. This operation was not sluicing during the survey, therefore no sample was taken.

Stations KZ-1, 2, 5, 9 and 10 meet all Drinking Water Guidelines and Aquatic Guidelines.

Station KZ-3 exceeds the Drinking Water Guidelines and the Aquatic Guidelines for pH.

Stations KZ-4, KZ-6 and KZ-7 exceed the Drinking Water Guidelines for iron and manganese and the Aquatic Guidelines for iron.

Station KZ-8 exceeds the Drinking Water Guidelines for iron, manganese and arsenic; and Aquatic Guidelines for chromium, copper, lead, selenium, silver and zinc.

Page 16

Klaza Property May 2016

All stations sampled reported total cyanide at less than laboratory detection limits (0.002 mg/L).

All stations sampled reported total mercury at less than detection limit (0.00001 mg/L).

Quality Control

Quality Control samples were taken at Station KZ-6. Results are listed in Table 5.

Groundwater Wells

Groundwater wells MW15-01D and MW15-02S were the only wells not dry or frozen in May.

Well MW15-01S and MW15-02D were dry, the remainder of the wells were frozen.

Analysis results and field measurements are listed in Tables 8, 9, and 10.

Thermistor string reading were taken at Well GTC15-01. Results for January and May 2016 are listed in Table 7. Site readings require conversion by EBA / Tetra Tech.

Onset Weather Station

The Onset / Hobo weather station installed near camp on June, 2013 was downloaded on May 13, 2016 and the solar radiation sensor was changed.

Page 17

APPENDIX  1

LABORATORY ANALYTICAL REPORTS

Water Quality Analysis

KLAZA PROPERTY

May, 2016

APPENDIX 2

STREAM FLOW VOLUME CALCULATIONS

May 12 and 13, 2016