Rock Haven Resources Ltd.

Klaza Property

Baseline Water Quality / Hydrology Survey

September, 2016

J.Gibson Env. Consulting                   Whitehorse, Yukon

Klaza Property September 2016

Rock Haven Resources Ltd. requested baseline water quality / hydrology surveys be conducted quarterly on the surface waters draining the area of the KLAZA Claims.

Ground water wells were drilled in November 2015 with quarterly monitoring scheduled in conjunction with surface water monitoring.

The KLAZA Claims are located on tributaries to the Nansen Creek and the Klaza River approx. 75 kilometers east of Carmacks.

The Mt Nansen and upper Klaza River are historic placer mining areas.

Main stem Nansen Creek and tributaries as well as Klaza River tributaries have been equipment mined over the past 3 decades.

An abandoned hard rock gold mine is located approximately 5 kilometers to the east of

the Klaza Property.

In September 2016 placer operators on EF Nansen and China Creek were active and sluicing.

All surface waters are tributaries to the Klaza River and the Yukon River.

All sites were accessed by truck or ATV on September 18, 19 and 20, 2016.

Monitoring

The surface water baseline survey consisted of water quality samples for routine chemistry, total metals, dissolved metals, total organic carbon and total cyanide with field measurements for pH, water temperature and flow volumes.

Sediment samples at the upstream (KZ-1) and downstream (KZ-9) Klaza River stations were done in September.

Groundwater monitoring consisted of measurements for standing water levels, purging and sampling wells with sufficient standing water. Wells were sampled for routine chemistry, total and dissolved metals, total Kjeldahl nitrogen, ionic balance and acidity.

Groundwater data loggers were downloaded along with thermistor string readings.

Page 1

Klaza Property September 2016

The ONSET / HOBO weather station logger was downloaded.

An attempt was made to download vibrating wire piezometers but encountered soft ware problems.

Sample Locations

Ten potential water quality sample sites were identified for the KLAZA Claims in March 2012.

An additional site was added in July, 2014; Station KZ-11 is located at the effluent discharge point of the “China Creek’ placer operation prior to entering the Klaza River.

Groundwater Monitoring wells developed in 2015 are also listed.

Surface water sites are on the attached location map.

KLAZA Claim sample station designations and coordinates are:

Station # LAT/LONG Coordinates

Surface Waters

KLAZA-1 62.132 137.216

KLAZA-2 62.101 137.218

KLAZA-3 62.143 137.242

KLAZA-4 62.126 137.274

KLAZA-5 62.137 137.255

KLAZA-6 62.135 137.273

KLAZA-7 62.088 137.232

KLAZA-8 62.079 137.226 KLAZA-9 62.144 137.286

KLAZA-10 62.129 137.261

KLAZA -11 no data

Groundwater Monitoring Wells MW15-01 383413 E 6888610 N MW15-02 383355 E 6890004 N MW15-03 383056 E 6890592 N MW15-04 382484 E 6891020 N MW15-05 381552 E 6890347 N Thermistor String Well GTC15-01 382824 E 6890304 N

Page 2

Klaza Property September 2016

Sample Parameters

All surface and groundwater wells stations were sampled for total metals, dissolved metals, routine chemistry. Surface waters had the addition of total organic carbon, total cyanide and total mercury; with groundwater having total Kjeldahl nitrogen, acidity and ionic balance added.

Dissolved metals samples were filtered onsite using disposable 60 ml syringes and 0.45 micron filters. New syringes and filters were used for each station.

Total and dissolved metal samples were preserved with nitric acid immediately after sampling.

Total Organic Carbon samples were preserved with HCL immediately after sampling.

Total cyanide samples were preserved with sodium hydroxide immediately after sampling.

All samples were stored in coolers, kept at 4 Celsius and shipped by air cargo to the Exova Canada Inc. laboratory in Surrey B.C. for analysis within recommended holding times.

Field measurements for pH and conductivity were taken with an Oakton PCS TestR 35, water temperatures with a digital thermometer.

Stream flow volumes were measured with a Price Velocity meter and cross sectional area.

Surface water Quality Control samples were taken at Station KZ-9 (lower Klaza River) this survey.

Ground water monitoring wells were located, standing water levels were measured and samples taken of the three wells that were unfrozen and had sufficient standing water, Wells MW15-02S, MW15-03S  and Well MW15-04S.

Well MW15-01D had standing water but could not get water to surface.

All other wells were dry or remained frozen.

Page 3

Klaza Property September 2016

The data loggers in Well MW15-01 were download this survey. Data from September 2015 to December 2016 will be submitted after the next survey.

The data logger in MW15-05 remains frozen. The well has been frozen the past three surveys; January, May and September 2016.

Thermistor string measurements were taken at GTC15-01.

Analysis Results

Laboratory analysis and field measurement results are listed in the following tables:

Surface Waters

Table1. KLAZA Stations Routine Chemistry – laboratory analysis and field

measurements. September 2016.

Table2. KLAZA Stations Total Metals ICP–MS laboratory analysis results.

September 2016.

Table3. KLAZA Stations Dissolved Metals ICP–MS laboratory analysis results.

September 2016.

Table4. Flow Volume Measurement Summary 2012 – 2016

Table5. Quality Control Analysis results for Station KZ-9, September 2016

Table6.  Surface Station Sediment sample analysis results. September 2016.

Groundwater Wells

Table7. Ground water wells standing water levels 2016.

Table8. Ground water Routine Chemistry – laboratory analysis and field

measurements. September 2016.

Table9. Ground water Total Metals ICP–MS laboratory analysis results.

September 2016.

Page 4

Klaza Property September 2016

Table10. Ground water Dissolved Metals ICP–MS laboratory analysis results.

September 2016.

Table11. Thermistor String Measurements 2016

As a guide for reviewing site water quality, the Maximum Acceptable Concentration (MAC) according to Canadian Drinking Water Quality are listed along with the Aquatic Guidelines for the protection of aquatic life in water with a pH of > 6.5 according to CCME – Canadian Water Quality Guidelines.

All water quality Guideline concentrations are based on total metal values.

Laboratory Analytical Reports are attached in Appendix 1.

Data Summaries for each surface water station are on the attached disc.

Groundwater Data summaries will be generated when there are three data sets.

Discussion

Hydrology

September 2016 stream flow in Klaza Property channels had volumes reflecting pre freeze up. Volumes at most sites were substantially lower than those measured in August 2015. All channel had surface water flow.

The diversion channel on upper East Fork Nansen (KZ#8) has been returned to the right limit. The left limit continues as an effluent channel through recently mined areas and settling ponds. Flows were split approximately 50/50 between right and left limit channels.

The KZ- 8 sample was taken of flows on the right / west limit channel.

Station KZ-11 is the effluent channel for the placer operation on “China Creek”. The operation was sluicing at the time of sampling. Extensive stripping has been done on lower China Creek – from the access road west to Station KZ-6 and north to within 10 meters of the Klaza River channel. The newly stripped area is estimated at greater than 20 acres.

Table 4 is a summary of flow measurements 2012 -2016. September, 2016 flow volume calculations are attached in Appendix 2.

Page 5

Klaza Property September 2016

Laboratory Analytical Results

Surface Waters

Parameters that equal or exceed either Drinking Water or Aquatic Guidelines are highlighted in yellow in Tables 1 and 2. All Guideline metals values are Totals.

All Stations had surface water flow and were sampled.

Stations KZ-1, 2, 3, 5, and 7 meet all Drinking Water Guidelines and Aquatic Guidelines.

Station KZ-4 exceeds the Drinking Water Guidelines for manganese.

Stations KZ-6 exceeds the Drinking Water Guidelines for iron and manganese and the Aquatic Guidelines for iron.

Station KZ-8 and KZ-10 exceed the Drinking Water Guidelines and Aquatic Guidelines for iron.

Stations KZ-11 (placer effluent) and KZ-9 (Klaza River downstream) exceed both Guidelines for parameters iron, manganese, arsenic, copper, lead and zinc. Station KZ-11 also exceeds guidelines for cadmium, chromium, selenium and silver.

Station KZ-9 had a high sediment load with high turbidity.

All stations sampled reported total cyanide at less than laboratory detection limits (0.002 mg/L).

All stations sampled (KZ-1, 8 and 9) reported total mercury at less than detection limit (0.00001 mg/L).

Quality Control

Quality Control samples were taken at Station KZ-9. Results are listed in Table 5. There was a high degree of variation between samples – likely due to the high sediment load.

Groundwater Wells

Groundwater wells MW15-01D, MW15-02S, MW15-03S and MW15-04S were the only wells not dry or frozen in September.

Wells MW15-01S and MW15-02D were dry; the other wells were frozen.

Analysis results and field measurements are listed in Tables 6, 7, 8 and 9.

Laboratory analytical results are compared to Drinking Water Quality Guidelines.

Page 17

Klaza Property September 2016

Well MW15-02S exceeded Guidelines for pH, iron, manganese and cadmium.

Well MW15-03S exceeded Guidelines for iron and manganese.

Well MW15-04S exceeded Guidelines for iron.

Thermistor

Thermistor string readings were taken at Well GTC15-01. Results for January, May and September 2016 are listed in Table 10. Site readings require conversion.

Vibrating Wire Piezometers

The three vibrating wire piezometers were located but attempts to download data were unsuccessful – likely due to a soft ware problem.

Onset Weather Station

The Onset / Hobo weather station installed near camp on June, 2013 was downloaded on September 19, 2016.

A 2016 weather data report will be issued at the end of 2016.

Page 18

APPENDIX  1

LABORATORY ANALYTICAL REPORTS

KLAZA PROPERTY

September, 2016

APPENDIX 2

STREAM FLOW VOLUME CALCULATIONS

September, 2016