## Sheet1
Sample | s_type | Issue | interpretation | Action
numerous |  | PREP dup samples labelled as "PULP" in Lagger d_samp table | mistaken -- should have been recorded as PREP | PULP changed to PREP
I102270 |  | no Au-AA23 data | listed as NSS on lab certificate which is strange because they had enough for the ICP analysis | none
I102130 | STD | Au-AA23 returned 3.05 gpt Au but the ICP gold is below detection | ICP data of the following sample (I102131) matches that for the standard so it looks like the lab swapped the ICP data only between these two samples | ICP data swapped for these two samples