ROCK HAVEN RESOURCES LTD   KLAZA PROPERTY

2016 WEATHER DATA

Final Report

J. Gibson Env. Consulting                                                                                                          Whitehorse Yukon

An Onset Hobo weather station was installed and launched June 22, 2013 at the Klaza Property. The weather station has operated continuously from June 2013 to January 2, 2016.

The weather station is located at the Klaza camp atop a rounded hill with no vegetation greater than 0.3 meters in height.

The station measures the following parameters with instruments mounted on a 3 meter mast:

- Wind Speed

- Wind Gusts

- Wind Direction

- Solar Radiation

- Relative Humidity

- Temperature (maximum, minimum)

- Rainfall Precipitation

Data recovery for Solar Radiation and rainfall precipitation were affected by sensor problems.

The weather data is listed as:

Parameter                                                            Data Recovery (%)

Wind Speed – Average Daily                                                100 %

Wind Gusts – Average Daily                                                 100

Wind Direction – Average Daily                                           100

Solar Radiation – Mean Daily                                                 28

Relative Humidity – Daily Mean                                           100

Temperature – Daily Maximum                                           100

Daily Mean                                                   100

Daily Minimum                                            100

Rain Fall Precipitation – Daily Total                                       35

Snowfall precipitation data is available from the Yukon Government’s Snow Bulletin for the

Mount Nansen Snow Course. Data will be summarized in a later report.

Page 1