## 2020 Haldane Drill Core Standar
Project | Hole | SampleID | Standard_Type | Sample_Comments | Logger | Timestamp | LabCode | Certificate | Lab_Comments | DateRecLab | DateFinal | PO | QAQC_Pass | Au_Method | ME_Method | WtRecvd_g | Au_ppm | Cu_ppm | Mo_ppm | Ag_ppm | Pb_ppm | Co_ppm | Zn_ppm | Al_pct | As_ppm | B_ppm | Ba_ppm | Be_ppm | Bi_ppm | Br_ppm | C_ppm | Ca_pct | Cd_ppm | Ce_ppb | Cl_ppm | Cr_ppm | Cs_ppm | Dy_ppb | Er_ppb | Eu_ppb | F_ppm | Fe_pct | Fr_ppm | Ga_ppm | Gd_ppb | Ge_ppm | Hf_ppm | Hg_ppm | Ho_ppb | In_ppm | Ir_ppb | K_pct | La_ppm | Li_ppm | Lu_ppb | Mg_pct | Mn_ppm | Na_pct | Nb_ppm | Nd_ppb | Ni_ppm | Os_ppb | P_ppm | Pd_ppb | Pm_ppb | Po_ppm | Pr_ppb | Pt_ppb | Ra_ppm | Rb_ppm | Re_ppm | Rh_ppb | Ru_ppb | S_pct | Sb_ppm | Sc_ppm | Se_ppm | Si_pct | Sm_ppb | Sn_ppm | Sr_ppm | Ta_ppm | Tb_ppb | Tc_ppm | Te_ppm | Th_ppm | Ti_pct | Tl_ppm | Tm_ppb | U_ppm | V_ppm | W_ppm | Y_ppm | Yb_ppb | Zr_ppm
Haldane | HLD20-18 | 3391020 | CDN-ME-1810 |  | ONI | 2020-10-31 | ALS_VAN | WH20266319 |  | 2020-11-16 | 2021-01-18 | ANZ20-01_001 |  | FA_AAS | 4A_ICPES |  | 4.42 | 5810 | 8960 | 155 | 14350 | 25 | 9750 | 5.47 | 735 |  | 320 | 3 | 8 |  |  | 3.73 | 50.1 |  |  | 39 | [5 empty] | 5.13 |  | 10 | [7 empty] | 2.27 | 20 |  |  | 1.67 | 1435 | 0.92 |  |  | 34 |  | 580 | [10 empty] | 3.1 | 659 | 7 |  |  |  |  | 186 |  |  |  |  | -20 | 0.17 | 10 |  | -10 | 77 | 580
Haldane | HLD20-18 | 3391040 | EQ_BLANK |  | ONI | 2020-11-01 | ALS_VAN | WH20266319 |  | 2020-11-16 | 2021-01-18 | ANZ20-01_001 |  | FA_AAS | 4A_ICPES |  | -0.005 | 3 | 1 | -0.5 | 2 | 3 | 35 | 6.95 | -5 |  | 810 | 0.9 | -2 |  |  | 1.64 | -0.5 |  |  | 12 | [5 empty] | 2.48 |  | 10 | [7 empty] | 1.59 | 10 |  |  | 0.55 | 665 | 3.36 |  |  | 3 |  | 430 | [10 empty] | 0.01 | -5 | 7 |  |  |  |  | 205 |  |  |  |  | -20 | 0.21 | -10 |  | -10 | 38 | -10
Haldane | HLD20-18 | 3391060 | CDN-ME-1810 |  | ONI | 2020-11-02 | ALS_VAN | WH20266319 |  | 2020-11-16 | 2021-01-18 | ANZ20-01_001 |  | FA_AAS | 4A_ICPES |  | 4.54 | 5850 | 9030 | 158 | 14500 | 25 | 9570 | 5.48 | 756 |  | 430 | 3.1 | 14 |  |  | 3.69 | 49.6 |  |  | 37 | [5 empty] | 5.2 |  | 20 | [7 empty] | 2.2 | 20 |  |  | 1.69 | 1425 | 0.95 |  |  | 27 |  | 580 | [10 empty] | 3.04 | 644 | 7 |  |  |  |  | 177 |  |  |  |  | -20 | 0.17 | -10 |  | -10 | 76 | 580
Haldane | HLD20-18 | 3391080 | EQ_BLANK |  | ONI | 2020-11-06 | ALS_VAN | WH20266319 |  | 2020-11-16 | 2021-01-18 | ANZ20-01_001 |  | FA_AAS | 4A_ICPES |  | -0.005 | 3 | 1 | -0.5 | 3 | 4 | 37 | 7.33 | -5 |  | 820 | 1 | 2 |  |  | 1.65 | -0.5 |  |  | 10 | [5 empty] | 2.39 |  | 10 | [7 empty] | 1.61 | 10 |  |  | 0.53 | 671 | 3.42 |  |  | -1 |  | 440 | [10 empty] | 0.01 | -5 | 7 |  |  |  |  | 202 |  |  |  |  | -20 | 0.22 | -10 |  | -10 | 38 | -10
Haldane | HLD20-18 | 3391100 | CDN-ME-1810 |  | ONI | 2020-11-06 | ALS_VAN | WH20266319 |  | 2020-11-16 | 2021-01-18 | ANZ20-01_001 |  | FA_AAS | 4A_ICPES |  | 4.51 | 5810 | 8910 | 159 | 14450 | 24 | 9470 | 5.43 | 708 |  | 700 | 3 | 14 |  |  | 3.66 | 48.7 |  |  | 39 | [5 empty] | 5.19 |  | 20 | [7 empty] | 2.18 | 20 |  |  | 1.66 | 1450 | 0.94 |  |  | 28 |  | 570 | [10 empty] | 2.98 | 631 | 6 |  |  |  |  | 178 |  |  |  |  | -20 | 0.17 | -10 |  | -10 | 76 | 570
Haldane | HLD20-19 | 3391120 | EQ_BLANK |  | ONI | 2020-11-08 | ALS_VAN | WH20271205 |  | 2020-11-19 | 2021-01-23 | ANZ20-01_002 |  | FA_AAS | 4A_ICPES |  | -0.005 | 4 | 1 | -0.5 | 2 | 3 | 37 | 7.39 | -5 |  | 840 | 1 | 2 |  |  | 1.74 | -0.5 |  |  | 12 | [5 empty] | 2.76 |  | 20 | [7 empty] | 1.63 | 10 |  |  | 0.55 | 706 | 3.4 |  |  | 3 |  | 440 | [10 empty] | 0.02 | -5 | 8 |  |  |  |  | 207 |  |  |  |  | -20 | 0.22 | -10 |  | -10 | 40 | -10
Haldane | HLD20-19 | 3391140 | CDN-ME-1810 |  | RGE | 2020-11-12 | ALS_VAN | WH20271205 |  | 2020-11-19 | 2021-01-23 | ANZ20-01_002 |  | FA_AAS | 4A_ICPES |  | 4.32 | 5850 | 9020 | 167 | 14550 | 26 | 9470 | 5.52 | 757 |  | 610 | 3 | 13 |  |  | 3.69 | 49.7 |  |  | 40 | [5 empty] | 5.27 |  | 20 | [7 empty] | 2.19 | 20 |  |  | 1.68 | 1420 | 0.95 |  |  | 28 |  | 580 | [10 empty] | 3.06 | 645 | 7 |  |  |  |  | 180 |  |  |  |  | -20 | 0.17 | -10 |  | -10 | 74 | 580
Haldane | HLD20-19 | 3391160 | EQ_BLANK |  | RGE | 2020-11-13 | ALS_VAN | WH20271205 |  | 2020-11-19 | 2021-01-23 | ANZ20-01_002 |  | FA_AAS | 4A_ICPES |  | -0.005 | 4 | 1 | -0.5 | 3 | 4 | 41 | 7.31 | -5 |  | 820 | 1 | 2 |  |  | 1.77 | -0.5 |  |  | 11 | [5 empty] | 2.37 |  | 10 | [7 empty] | 1.59 | 10 |  |  | 0.58 | 703 | 3.43 |  |  | 1 |  | 430 | [10 empty] | 0.02 | -5 | 7 |  |  |  |  | 211 |  |  |  |  | -20 | 0.22 | -10 |  | -10 | 41 | -10
Haldane | HLD20-19 | 3391180 | CDN-ME-1810 |  | RGE | 2020-11-17 | ALS_VAN | WH20271205 |  | 2020-11-19 | 2021-01-23 | ANZ20-01_002 |  | FA_AAS | 4A_ICPES |  | 4.61 | 5660 | 8770 | 154 | 14050 | 26 | 9310 | 5.36 | 718 |  | 410 | 3 | 12 |  |  | 3.64 | 48.8 |  |  | 37 | [5 empty] | 5.19 |  | 20 | [7 empty] | 2.14 | 20 |  |  | 1.63 | 2220 | 0.92 |  |  | 27 |  | 560 | [10 empty] | 2.99 | 620 | 6 |  |  |  |  | 173 |  |  |  |  | -20 | 0.17 | -10 |  | -10 | 73 | 560
Haldane | HLD20-20 | 3391200 | EQ_BLANK |  | ONI | 2020-11-25 | ALS_VAN | WH20281022 |  | 2020-11-30 | 2021-01-24 | ANZ20-01_003 |  | FA_AAS | 4A_ICPES |  | -0.005 | 3 | 1 | -0.5 | -2 | 3 | 35 | 7.15 | -5 |  | 800 | 0.9 | -2 |  |  | 1.82 | -0.5 |  |  | 10 | [5 empty] | 2.13 |  | 10 | [7 empty] | 1.66 | 10 |  |  | 0.57 | 633 | 3.45 |  |  | -1 |  | 440 | [10 empty] | 0.01 | -5 | 7 |  |  |  |  | 220 |  |  |  |  | -20 | 0.22 | 10 |  | -10 | 42 | -10
Haldane | HLD20-20 | 3391220 | CDN-ME-1810 |  | ONI | 2020-11-25 | ALS_VAN | WH20281022 |  | 2020-11-30 | 2021-01-24 | ANZ20-01_003 |  | FA_AAS | 4A_ICPES |  | 4.17 | 5820 | 9130 | 155 | 14850 | 25 | 9600 | 5.45 | 700 |  | 730 | 3 | 15 |  |  | 3.84 | 50.7 |  |  | 38 | [5 empty] | 5.2 |  | 10 | [7 empty] | 2.22 | 20 |  |  | 1.7 | 1420 | 0.93 |  |  | 27 |  | 590 | [10 empty] | 3.08 | 664 | 7 |  |  |  |  | 186 |  |  |  |  | -20 | 0.17 | -10 |  | -10 | 75 | 580
Haldane | HLD20-21 | 3391240 | EQ_BLANK |  | ONI | 2020-11-28 | ALS_VAN | WH20288784 |  | 2020-12-07 | 2021-01-30 | ANZ20-01_004 |  | FA_AAS | 4A_ICPES |  | -0.005 | 3 | 1 | -0.5 | 2 | 4 | 38 | 7.21 | -5 |  | 830 | 1 | -2 |  |  | 1.81 | -0.5 |  |  | 9 | [5 empty] | 2.17 |  | 20 | [7 empty] | 1.66 | 10 |  |  | 0.54 | 665 | 3.58 |  |  | 1 |  | 450 | [10 empty] | 0.01 | -5 | 7 |  |  |  |  | 219 |  |  |  |  | -20 | 0.22 | -10 |  | -10 | 39 | -10
Haldane | HLD20-21 | 3391260 | CDN-ME-1810 |  | ONI | 2020-11-29 | ALS_VAN | WH20288784 |  | 2020-12-07 | 2021-01-30 | ANZ20-01_004 |  | FA_AAS | 4A_ICPES |  | 4.52 | 5950 | 9230 | 157 | 14650 | 24 | 9530 | 5.47 | 731 |  | 590 | 3 | 13 |  |  | 3.84 | 51.3 |  |  | 40 | [5 empty] | 5.25 |  | 10 | [7 empty] | 2.31 | 20 |  |  | 1.73 | 1435 | 0.95 |  |  | 31 |  | 580 | [10 empty] | 3.07 | 658 | 7 |  |  |  |  | 184 |  |  |  |  | -20 | 0.17 | 10 |  | -10 | 78 | 580
Haldane | HLD20-21 | 3391280 | EQ_BLANK |  | ONI | 2020-12-01 | ALS_VAN | WH20288784 |  | 2020-12-07 | 2021-01-30 | ANZ20-01_004 |  | FA_AAS | 4A_ICPES |  | -0.005 | 2 | 1 | -0.5 | -2 | 3 | 35 | 6.91 | -5 |  | 780 | 0.9 | -2 |  |  | 1.59 | -0.5 |  |  | 8 | [5 empty] | 1.96 |  | 10 | [7 empty] | 1.6 | 10 |  |  | 0.49 | 605 | 3.37 |  |  | 1 |  | 420 | [10 empty] | 0.01 | -5 | 6 |  |  |  |  | 201 |  |  |  |  | -20 | 0.2 | -10 |  | -10 | 33 | -10
Haldane | HLD20-21 | 3391300 | CDN-ME-1810 |  | ONI | 2020-12-01 | ALS_VAN | WH20288784 |  | 2020-12-07 | 2021-01-30 | ANZ20-01_004 |  | FA_AAS | 4A_ICPES |  | 4.25 | 5970 | 8970 | 155 | 14800 | 27 | 9520 | 5.47 | 738 |  | 710 | 3.1 | 13 |  |  | 3.74 | 51.3 |  |  | 39 | [5 empty] | 5.17 |  | 10 | [7 empty] | 2.26 | 20 |  |  | 1.68 | 1400 | 0.94 |  |  | 29 |  | 610 | [10 empty] | 3.09 | 638 | 7 |  |  |  |  | 187 |  |  |  |  | -20 | 0.17 | -10 |  | -10 | 77 | 570
Haldane | HLD20-21 | 3391320 | EQ_BLANK |  | ONI |  | ALS_VAN | WH20288784 |  | 2020-12-07 | 2021-01-30 | ANZ20-01_004 |  | FA_AAS | 4A_ICPES |  | -0.005 | 4 | 3 | -0.5 | -2 | 5 | 36 | 7.08 | -5 |  | 780 | 1 | -2 |  |  | 1.73 | -0.5 |  |  | 8 | [5 empty] | 2.14 |  | 10 | [7 empty] | 1.57 | 10 |  |  | 0.55 | 640 | 3.3 |  |  | 1 |  | 430 | [10 empty] | 0.01 | -5 | 7 |  |  |  |  | 207 |  |  |  |  | -20 | 0.22 | -10 |  | -10 | 42 | -10
Haldane | HLD20-21 | 3391340 | CDN-ME-1810 |  | ONI |  | ALS_VAN | WH20288784 |  | 2020-12-07 | 2021-01-30 | ANZ20-01_004 |  | FA_AAS | 4A_ICPES |  | 4.6 | 6030 | 9320 | 159 | 15000 | 29 | 9860 | 5.48 | 733 |  | 440 | 3.2 | 16 |  |  | 3.81 | 51 |  |  | 38 | [5 empty] | 5.32 |  | 20 | [7 empty] | 2.28 | 20 |  |  | 1.74 | 1440 | 0.98 |  |  | 30 |  | 590 | [10 empty] | 3.12 | 650 | 7 |  |  |  |  | 183 |  |  |  |  | -20 | 0.18 | -10 |  | -10 | 77 | 650
Haldane | HLD20-21 | 3391360 | EQ_BLANK |  | ONI |  | ALS_VAN | WH20288784 |  | 2020-12-07 | 2021-01-30 | ANZ20-01_004 |  | FA_AAS | 4A_ICPES |  | -0.005 | 9 | 1 | -0.5 | 8 | 5 | 52 | 7.23 | -5 |  | 790 | 1 | -2 |  |  | 1.71 | -0.5 |  |  | 14 | [5 empty] | 2.05 |  | 10 | [7 empty] | 1.57 | 10 |  |  | 0.52 | 699 | 3.48 |  |  | -1 |  | 440 | [10 empty] | 0.02 | -5 | 7 |  |  |  |  | 212 |  |  |  |  | -20 | 0.21 | -10 |  | -10 | 37 | -10
Haldane | HLD20-21 | 3391365 | EQ_BLANK |  | ONI |  | ALS_VAN | WH20288784 |  | 2020-12-07 | 2021-01-30 | ANZ20-01_004 |  | FA_AAS | 4A_ICPES |  | -0.005 | 18 | 1 | 5.7 | 569 | 4 | 238 | 6.87 | 71 |  | 780 | 0.9 | -2 |  |  | 1.63 | 1.1 |  |  | 13 | [5 empty] | 2.29 |  | 10 | [7 empty] | 1.6 | 10 |  |  | 0.52 | 1110 | 3.27 |  |  | 1 |  | 450 | [10 empty] | 0.03 | -5 | 7 |  |  |  |  | 202 |  |  |  |  | -20 | 0.21 | -10 |  | -10 | 37 | -10
Haldane | HLD20-21 | 3391380 | CDN-ME-1810 |  | ONI |  | ALS_VAN | WH20288784 |  | 2020-12-07 | 2021-01-30 | ANZ20-01_004 |  | FA_AAS | 4A_ICPES |  | 4.37 | 5950 | 8730 | 156 | 14950 | 27 | 9210 | 5.37 | 728 |  | 380 | 2.9 | 10 |  |  | 3.65 | 50 |  |  | 37 | [5 empty] | 5.09 |  | 10 | [7 empty] | 2.2 | 20 |  |  | 1.65 | 1395 | 0.92 |  |  | 27 |  | 600 | [10 empty] | 3.03 | 635 | 6 |  |  |  |  | 181 |  |  |  |  | -20 | 0.17 | -10 |  | -10 | 75 | 580